## Slide 1: Lab Trends
Alicia Pandimos Maurer, AIA, LEED-ap BD&C
September 2018

## Slide 2: Lab Trends Overview
Traditional Planning:
  Using Benchmarking
  Telling end users what they need
New Trends in Planning:
  Interactive planning / Group polling
  Enhanced Lab Planning
  Equipment Planning
  “Active Listening”
Other New Trends:
  Efficiency - Operations Improvement/Integrated Project Delivery
  Strategic Planning

## Slide 3: Traditional Planning
Benchmarking
  Historical data and matrices
  Confined to existing data
Use Typical Layouts
  Base layouts on historical lab layouts

## Slide 4: Traditional Planning
Benchmarking
  2 Historical data and matrices
  Confined to existing data

## Slide 5: Enhanced Lab Planning
  Components of Enhanced Lab Planning:
    Operations Improvement (OI)
    Interactive Project Delivery (IPD) for increased project efficiency
    Engineering Modeling
    Efficiency through equipment planning
    Interactive planning and real-time polling

## Slide 6: Operations Improvements
Breakdown your operations
  Do more with same footprint (see below)
  Perform Post Occupancy Studies to see where efficiencies can be found
  Influence utility consumption
  Design lean operations

## Slide 7: Integrated Project Delivery
IDP
  Initial 3D Visualization
  Improved Coordination
  Lean Construction
  Lowered Project Cost

## Slide 8: Engineering modeling
  Monitoring | record keeping
  Animal watering
  Lighting control
  Security
  Controls Automation
  Validation
  CFD analysis

## Slide 9: Equipment Planning
Field Survey
List
MEP Requirements
Physical
  Access, Operation, Location
FRONT
BACK

## Slide 10: Equipment Planning - Efficiency

## Slide 11: Equipment Planning - Efficiency

## Slide 12: Adaptable Utilities

## Slide 13: Lab Zones

## Slide 14: “Super Lab” Concept
Built at University of Technology Sydney in 2015
Can host more than 200 students in up to five different lab classes simultaneously
Cut SF significantly
“A key advantage of building one Super Lab instead of five smaller labs is that it eliminates separation walls and corridors,” says Booth of University of Technology Sydney). “Every wall means loss of lab bench space, since there are bench-to-wall thoroughfare and egress distances to apply to either side of the wall.”

## Slide 15: “Super Lab” Concept
London Super Lab

## Slide 16: Interactive Planning

## Slide 17: Planning Strategies

## Slide 18: Planning Strategies

## Slide 19: Questions?
Thank you
apmconsultingco.com